{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":43,"n_cols":7,"rows_kept":43,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ACQ-C"]
[]
[]
[]
[]
["","","","","ACQ71CV1","ACQ100CV1","ACQ125CV1"]
["Sound pressure level","Heating","High","dBA","41","44","47"]
["","","Nom.","dBA","38","41","44"]
["","","Silent operation","dBA","32","36","41"]
["","","Low","dBA","35","38","43"]
["","Cooling","Silent operation","dBA","32","36","41"]
["","","Low","dBA","35","38","43"]
["","","High","dBA","41","44","47"]
["","","Nom.","dBA","38","41","44"]
["Standard Accessories","Installation manual","","","Installation manual","Installation manual","Installation manual"]
["","Operation manual","","","Operation manual","Operation manual","Operation manual"]
["","مسامير لولبية","","","مسامير لولبية","مسامير لولبية","مسامير لولبية"]
["","حلقة إحكام الربط","","","حلقة إحكام الربط","حلقة إحكام الربط","حلقة إحكام الربط"]
["","جهاز تحكم عن بعد لاسلكي","","","جهاز تحكم عن بعد لاسلكي","جهاز تحكم عن بعد لاسلكي","جهاز تحكم عن بعد لاسلكي"]
["","مشوى بغطاء مع قفل","","","مشوى بغطاء مع قفل","مشوى بغطاء مع قفل","مشوى بغطاء مع قفل"]
["","بطارية","","","بطارية","بطارية","بطارية"]
["أنظمة التحكم","Wired remote control","","","ARCWB","ARCWB","ARCWB"]
["Piping connections","Liquid","القطر الخارجي","mm","9.52","9.52","9.52"]
["","غاز","القطر الخارجي","mm","15.88","15.88","15.88"]
["","Drain","","","19.05","19.05","19.05"]
["Power input","Cooling","Nom.","kW","0.067","0.094","0.137"]
["","Heating","Nom.","kW","0.067","0.094","0.137"]
["Sound power level","التبريد","","dBA","54","57","60"]
["","التدفئة","","dBA","54","56","60"]
["Dimensions","Unit","العرض","mm","820","820","820"]
["","","العمق","mm","820","820","820"]
["","","الارتفاع","mm","265","300","300"]
["الغلاف","المادة","","","Galvanised steel","Galvanised steel","Galvanised steel"]
["الوزن","الوحدة","","kg","31","39","39"]
["لوحة ديكور","الوزن","","kg","4","4","4"]
["","الأبعاد","الارتفاع","mm","82","82","82"]
["","","العمق","mm","990","990","990"]
["","","العرض","mm","990","990","990"]
["","اللون","","","أبيض","أبيض","أبيض"]
["Power supply","الطور","","","1~","1~","1~"]
["","Frequency","","Hz","50","50","50"]
["","الاسم","","","V1","V1","V1"]
["","Voltage","","V","220-240","220-240","220-240"]