{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":49,"n_cols":6,"rows_kept":49,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","CTXA-AS"]
[]
[]
[]
[]
["","","","","","CTXA15A2V1BS"]
["Power input","Cooling","","Nom.","kW","0.02"]
["","Heating","","Nom.","kW","0.02"]
["الغلاف","اللون","","","","فضة"]
["الأبعاد","الوحدة","","الارتفاع","mm","295"]
["","","","العرض","mm","798"]
["","","","العمق","mm","189"]
["الوزن","الوحدة","","","kg","12"]
["Fan","Air flow rate","Cooling","High","m³/min","11"]
["مروحة","معدل تدفق الهواء","تبريد","متوسط","m³/min","8"]
["Fan","Air flow rate","Cooling","Low","m³/min","6.1"]
["","","","Silent operation","m³/min","4.6"]
["","","Heating","High","m³/min","10.9"]
["مروحة","معدل تدفق الهواء","تدفئة","متوسط","m³/min","8.7"]
["Fan","Air flow rate","Heating","Low","m³/min","6.4"]
["","","","Silent operation","m³/min","4.5"]
["مستوى طاقة الصوت","التبريد","","","dBA","57"]
["Sound pressure level","Cooling","","High","dBA","39"]
["مستوى ضغط الصوت","تبريد","","متوسط","dBA","32"]
["Sound pressure level","Cooling","","Low","dBA","25"]
["","","","Silent operation","dBA","21"]
["","Heating","","High","dBA","39"]
["مستوى ضغط الصوت","تدفئة","","متوسط","dBA","32"]
["Sound pressure level","Heating","","Low","dBA","25"]
["","","","Silent operation","dBA","21"]
["سائل تبريد","GWP","","","","675"]
["وصلات الأنابيب","سائل","","القطر الخارجي","mm","6.35"]
["","غاز","","القطر الخارجي","mm","9.5"]
["","التصريف","","","","18"]
["أنظمة التحكم","جهاز تحكم عن بُعد بالأشعة تحت الحمراء","","","","ARC466A58"]
["","جهاز تحكم عن بُعد سلكي","","","","BRC073"]
["Standard Accessories","Installation manual","","","","1"]
["","Screw cover","","","","1"]
["","AAA dry-cell batteries","","","","2"]
["","General safety precautions","","","","1"]
["","Operation manual","","","","1"]
["","مرشح هواء","","","","2"]
["","Infrared remote control","","","","1"]
["","Remote controller mounting plate","","","","1"]
["","Screw bag","","","","1"]
["وحدة التزويد بالطاقة","الاسم","","","","V1"]
["","الطور","","","","1~"]
["Power supply","Frequency","","","Hz","50"]
["","Voltage","","","V","220-240"]