{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":22,"n_cols":18,"rows_kept":22,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FTXM-R / 5MXM-A8"]
[]
[]
[]
[]
["","","","","FTXM20R2V1B / FTXM20R2V1B / FTXM25R2V1B / FTXM25R2V1B / 5MXM90A2V1B8","FTXM20R2V1B / FTXM20R2V1B / FTXM50R2V1B / 5MXM90A2V1B8","FTXM20R2V1B / FTXM25R2V1B / FTXM42R2V1B / 5MXM90A2V1B8","FTXM20R2V1B / FTXM35R2V1B / FTXM35R2V1B / 5MXM90A2V1B8","FTXM20R2V1B / FTXM71R2V1B / 5MXM90A2V1B8","FTXM20R5V1B / FTXM25R5V1B / FTXM42R5V1B / 5MXM90A2V1B8","FTXM20R5V1B / FTXM35R5V1B / FTXM35R5V1B / 5MXM90A2V1B8","FTXM20R5V1B / FTXM20R5V1B / FTXM25R5V1B / FTXM25R5V1B / 5MXM90A2V1B8","FTXM20R5V1B / FTXM20R5V1B / FTXM50R2V1B / 5MXM90A2V1B8","FTXM20R5V1B / FTXM71R2V1B / 5MXM90A2V1B8","FTXM25R2V1B / FTXM25R2V1B / FTXM42R2V1B / 5MXM90A2V1B8","FTXM42R2V1B / FTXM50R2V1B / 5MXM90A2V1B8","FTXM42R5V1B / FTXM50R2V1B / 5MXM90A2V1B8","FTXM25R5V1B / FTXM25R5V1B / FTXM42R5V1B / 5MXM90A2V1B8"]
["Cooling capacity","Nom.","","kW","7.80","8.00","8.00","8.00","8.00","8.00","8.00","7.80","8.00","8.00","8.00","8.00","8.00","8.00"]
["Heating capacity","Nom.","","kW","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00","10.00"]
["الفعالية الإسمية","نسبة فعالية استهلاك الطاقة","","","4.15","3.82","3.71","3.73","3.33","3.71","3.73","4.15","3.82","3.33","3.72","3.34","3.34","3.72"]
["","عامل الأداء","","","4.58","4.28","4.08","3.99","3.69","4.08","3.99","4.58","4.28","3.69","4.09","3.74","3.74","4.09"]
["","استهلاك الطاقة السنوي","","kWh","940","1047","1077","1073","1202","1077","1073","940","1047","1202","1075","1199","1199","1075"]
["الفعالية الاسمية","التوجيه الخاص بملصق الطاقة","تبريد","","A","A","A","A","A","A","A","A","A","A","A","A","A","A"]
["","","تدفئة","","A","A","A","A","A","A","A","A","A","A","A","A","A","A"]
["تبريد المساحة","فئة فعالية استهلاك الطاقة","","","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++","A++"]
["","الاستطاعة","Pdesign","kW","7.80","8.00","8.00","8.00","8.00","8.00","8.00","7.80","8.00","8.00","8.00","8.00","8.00","8.00"]
["","SEER","","","7.55","7.29","7.17","7.18","6.84","7.17","7.18","7.55","7.29","6.84","7.18","6.85","6.85","7.18"]
["تدفئة المساحة","استهلاك الطاقة السنوي","","كيلو واط ساعي/سنة","366","387","391","392","410","391","392","366","387","410","391","411","411","391"]
["تدفئة المساحة (مناخ معتدل)","فئة فعالية استهلاك الطاقة","","","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+","A+"]
["","الاستطاعة","Pdesign","kW","6.46","6.46","5.60","6.46","4.50","5.60","6.46","6.46","6.46","4.50","5.60","5.20","5.20","5.60"]
["","تدفئة المساحة (مناخ معتدل)-=-SCOP/A","","","4.50","4.34","4.35","4.20","4.26","4.35","4.20","4.50","4.34","4.26","4.36","4.21","4.21","4.36"]
["","Pdh استطاعة التدفئة عند -10°","","kW","5.02","4.98","4.47","4.97","3.84","4.47","4.97","5.02","4.98","3.84","4.48","4.19","4.19","4.48"]
["","استهلاك الطاقة السنوي","","كيلو واط ساعي/سنة","2010","2083","1803","2152","1478","1803","2152","2010","2083","1478","1799","1731","1731","1799"]