{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":42,"n_cols":8,"rows_kept":42,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FUQ-B8"]
[]
[]
[]
[]
["","","","","","FUQ71BWV1B","FUQ100BWV1B","FUQ125BWV1B"]
["Power input","Heating","","Nom.","kW","0.160","0.269","0.269"]
["","Cooling","","Nom.","kW","0.180","0.289","0.289"]
["الغلاف","اللون","","","","أبيض","أبيض","أبيض"]
["","المادة","","","","Resin","Resin","Resin"]
["الأبعاد","الوحدة","","الارتفاع","mm","165","230","230"]
["","","","العرض","mm","895","895","895"]
["","","","العمق","mm","895","895","895"]
["الوزن","الوحدة","","","kg","25","31","31"]
["Fan","Air flow rate","Cooling","High","m³/min","19","29","32"]
["","","","Low","m³/min","14","21","23"]
["","","Heating","High","m³/min","19","29","32"]
["","","","Low","m³/min","14","21","23"]
["مستوى طاقة الصوت","التبريد","","","dBA","56","59","60"]
["","التدفئة","","","dBA","56","59","60"]
["Sound pressure level","Cooling","","High","dBA","40","43","44"]
["","","","Low","dBA","35","38","39"]
["","Heating","","High","dBA","40","43","44"]
["","","","Low","dBA","35","38","39"]
["وصلات الأنابيب","سائل","","القطر الخارجي","mm","9.52","9.52","9.52"]
["","غاز","","القطر الخارجي","mm","15.9","15.9","15.9"]
["","التصريف","","","","I.D. 20/O.D. 26","I.D. 20/O.D. 26","I.D. 20/O.D. 26"]
["Standard Accessories","دليل التركيب","","","","دليل التركيب","دليل التركيب","دليل التركيب"]
["","دليل التشغيل","","","","دليل التشغيل","دليل التشغيل","دليل التشغيل"]
["","مشبك معدني","","","","مشبك معدني","مشبك معدني","مشبك معدني"]
["","مشابك","","","","مشابك","مشابك","مشابك"]
["","خرطوم الصرف","","","","خرطوم الصرف","خرطوم الصرف","خرطوم الصرف"]
["","الوح الحامل","","","","الوح الحامل","الوح الحامل","الوح الحامل"]
["","عازل لأدوات التثبيت","","","","عازل لأدوات التثبيت","عازل لأدوات التثبيت","عازل لأدوات التثبيت"]
["","وصلة","","","","وصلة","وصلة","وصلة"]
["","مسامير لولبية","","","","مسامير لولبية","مسامير لولبية","مسامير لولبية"]
["","لبادة مانعة للتسريب","","","","لبادة مانعة للتسريب","لبادة مانعة للتسريب","لبادة مانعة للتسريب"]
["","حلقة إحكام الربط","","","","حلقة إحكام الربط","حلقة إحكام الربط","حلقة إحكام الربط"]
["وحدة التزويد بالطاقة","الاسم","","","","V1","V1","V1"]
["","الطور","","","","1~","1~","1~"]
["Power supply","Frequency","","","Hz","50","50","50"]
["","Voltage","","","V","220-240","220-240","220-240"]