{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":38,"n_cols":8,"rows_kept":38,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FVQ-B"]
[]
[]
[]
[]
["","","","","","FVQ71BV1B","FVQ100BV1B","FVQ125BV1B"]
["الغلاف","اللون","","","","أبيض","أبيض","أبيض"]
["الأبعاد","الوحدة","","الارتفاع","mm","1850","1850","1850"]
["","","","العرض","mm","600","600","600"]
["","","","العمق","mm","270","350","350"]
["الوزن","الوحدة","","","kg","39","46","47"]
["Fan","Air flow rate","Cooling","High","m³/min","18","28","32"]
["","","","Low","m³/min","14","22","25"]
["","","Heating","High","m³/min","18","28","32"]
["","","","Low","m³/min","14","22","25"]
["مستوى طاقة الصوت","التبريد","","","dBA","54","60","62"]
["","التدفئة","","","dBA","54","60","62"]
["Sound pressure level","Cooling","","High","dBA","42","48","50"]
["","","","Low","dBA","36","42","44"]
["","Heating","","High","dBA","42","48","50"]
["","","","Low","dBA","36","42","44"]
["وصلات الأنابيب","سائل","","القطر الخارجي","mm","","","9.52"]
["","غاز","","القطر الخارجي","mm","","","15.90"]
["","التصريف","","","","I.D. 20/O.D. 26","I.D. 20/O.D. 26","I.D. 20/O.D. 26"]
["Standard Accessories","دليل التركيب","","","","دليل التركيب","دليل التركيب","دليل التركيب"]
["","دعامة للتركيب","","","","دعامة للتركيب","دعامة للتركيب","دعامة للتركيب"]
["","دليل التشغيل","","","","دليل التشغيل","دليل التشغيل","دليل التشغيل"]
["","كم وصل","","","","كم وصل","كم وصل","كم وصل"]
["","مشابك","","","","مشابك","مشابك","مشابك"]
["","لوح توصيل لوحة التحكم","","","","لوح توصيل لوحة التحكم","لوح توصيل لوحة التحكم","لوح توصيل لوحة التحكم"]
["","نموذج التركيب","","","","نموذج التركيب","نموذج التركيب","نموذج التركيب"]
["","عازل لأدوات التثبيت","","","","عازل لأدوات التثبيت","عازل لأدوات التثبيت","عازل لأدوات التثبيت"]
["","غطاء جهاز التحكم عن بعد","","","","غطاء جهاز التحكم عن بعد","غطاء جهاز التحكم عن بعد","غطاء جهاز التحكم عن بعد"]
["","مسامير لولبية","","","","مسامير لولبية","مسامير لولبية","مسامير لولبية"]
["","مطاط الحماية عبر الفتحات","","","","مطاط الحماية عبر الفتحات","مطاط الحماية عبر الفتحات","مطاط الحماية عبر الفتحات"]
["وحدة التزويد بالطاقة","الطور","","","","1~","1~","1~"]
["Power supply","Frequency","","","Hz","50","50","50"]
["","Voltage","","","V","220-240","220-240","220-240"]